SPECIFICATION DATA - Condenser & Heat Reclaim Coils

Date:________ / Page ____Of____

Name: _____________________________________  Company: ___________________________________________

Address: ________________________________________________________________________________________

City, State, Zip :_________________________________   Tele: ___________________   FAX: ___________________

Job Ref: _________________________________  Coil Model No ____________________________  Qty  __________

DIMENSIONAL DATA						PERFORMANCE DATA

Fin Height (“FH”) _________  / Finned Length (“FL”) __________	Heat Rejection Req’d.  ___________  BTU/Hr.

Rows Deep _______ / Model Type (see table) ______			Airflow  ______________  SCFM or Lbs/ Hr

Fins Per Inch ______ / No. of Circuits1 ______				Face Velocity  _________ FPM

Casing Height (“CH”)______ / Casing Length (“CL”) __________		Entering Air Temp. _____ ºF db

Casing Depth (“CD”) ______  Overall Coil Length (“OL”)2 ______	Air Friction Pressure Drop  ______ Inches W.G.

Casing Flange Width2: F1_____   F2_____   F3 _____   F4 _____	Refrigerant  _______ Condense Temp. ____ ºF

Suction Connection3 O.D._______ Inlet  / O.D. ________ Outlet 		Refrigerant Pressure Drop __________  PSIG

CASING STYLE:  Encased (shown)    Non-encased (ends only) 	FOR HEAT RECLAIM COILS ________  BTUH

COIL HAND: (If Horizontal Airflow)   Right     Left   			Refrigerant Piping:        Series w/ Condenser

(If  Vertical Airflow )    Up         Down					        Parallel w/ Condenser

LEFT HAND COIL SHOWN (RIGHT HAND OPPOSITE)	      Notes: ____________________________________

__________________________________ 	__________________________________

__________________________________

__________________________________

__________________________________

__________________________________

__________________________________	__________________________________	__________________________________

STANDARD DIMENSIONAL SPECIFICATIONS

| MODEL TYPE | TUBE O.D. | TUBE CENTERS FACE X ROW | TUBE PATTERN | STANDARD FIN HEIGHT INCREMENTS | STANDARD FIN SPACING MIN - MAX | STANDARD FLANGE WIDTHS F1, F3, F4, F2 |  | STANDARD L1 (see 2) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 38-1 38-2 38-3 38-4 | 3/8” | 1” x 1” 1” x 1” 1 1/4” x 1” 1” x .866” | Staggered Inline Staggered Staggered | 1” 1” 1 1/4” 1 | 10 - 16 12 only 12 - 16 5 - 18 | 1” 1” 1 1/4” 1” | 1” 1” 1 1/4” 1” | 2 3/8” 2 3/8” 2 7/8” 2 3/8” |
| 12-1 12-2 12-3 12-4 | 1/2” | 1 1/4” x 1” 1 1/2” x 1 1/2” 1 1/2” x 1 1/2” 1 1/2” x 1.299” | Staggered Staggered Inline Staggered | 1 1/4” 1 1/2” 1 1/2” 1 1/2” | 8 - 14 10 - 16 10 only 4 - 15 | 1 1/4” 1 1/2” 1 1/2” 1 1/2” | 1 1/4” 1 1/2” 1 1/2” 1 1/2” | 2 7/8” 3 3/8” 3 3/8” 3 3/8” |
| 58-1 58-2 58-3 58-4 | 5/8” | 1 1/2” x 1 1/2” 1 1/2” x 1 1/2” 1 1/2” x 1.299” 1 3/4” x 1.516” | Staggered Inline Staggered Staggered | 1 1/2” 1 1/2” 1 1/2” 1 3/4” | 7 - 10 8 - 10 4 - 15 4 - 15 | 1 1/2” 1 1/2” 1 1/2” 1 1/2” | 1 1/2” 1 1/2” 1 1/2” 1 1/2” | 3 3/8” 3 3/8” 3 3/8” 3 3/8” |
| 88-1 88-2 | 1” | 3” x 2” 3” x 2.598” | Staggered Staggered | 3” 3” | 4 - 12 4 - 12 | 1 1/2” 1 1/2” | 3” 3” | 6 1/2” 6 1/2” |

NOTES:	1. To insure proper replacement coil and operation, specify either number of circuits or complete performance data.

2. Note standard flange widths in table.  The F2 dimension shown is recommended for tube bend protection on most coils.

3. Indicate direction of inlet and outlet connections if different from above.  If multi-section coil, show circuiting and connection details (use 	   	     separate sheet if necessary).  To insure lowest coil cost, specify connection location dimensions only if critical to the installation.

After completed:  FAX to (330) 837-0558 or Email to Sales@HydroThrift.com