SPECIFICATION DATA - Standard Steam Coils   Date:_________   Page ________

Name: _____________________________________  Company: ___________________________________________

Address : _______________________________________________________________________________________

City, State, Zip :_________________________________   Tele: ___________________   FAX: ___________________

Job Ref: _________________________________  Coil Model No ____________________________    Qty  _________

DIMENSIONAL DATA						PERFORMANCE DATA

Fin Height (“FH”)A ________  / Finned Length (“FL”) ________  		Heat Load  ____________ BTU/Hr.

Rows Deep (1 or 2)  _______ / Fins Per InchB _______			Airflow  _______________ SCFM or Lbs/ Hr

Casing Height (“CH”)  ______ / Tube Dia.  5/8" or 1" ?  _____		Face Velocity  _________  FPM

Casing Length (“CL”) _______ / Casing Depth (“CD”)   _______		Entering Air Temperature   _______  ºF

Casing Flange Widths:  F1  _________    F2 __________		Leaving  Air Temperature   _______  ºF

Over Coil Casing and Header Length (“OL”)  __________		Saturated Steam Pressure  _______  PSIG

Connection Arrangement2 & 3  _______________			Saturated Steam Temp.  _________  ºF

Connection Size:  Supply   _____ MPT  /  Return _____ MPT		Condensate Flow Rate    _________  Lbs/Hr.

AIR DIRECTION1:  Horizontal Airflow Vertical Airflow 		Air Friction Pressure Drop  ______ Inches W.G.

COIL MOUNTING: Horizontal Tubes  Vertical Tubes

Notes:__________________________________________________________________________________________

_______________________________________________________________________________________________

_______________________________________________________________________________________________

_______________________________________________________________________________________________

_______________________________________________________________________________________________

STANDARD DIMENSIONAL SPECS.            STANDARD CONNECTION ARRANGEMENT

STANDARD CONNECTION SIZES:

| Connection Size |  | Encased | Non-Encased |
| --- | --- | --- | --- |
| Supply | Return | “L1” | “L2” |
| 1 1/2” | 1” | 9” | 8 1/2” |
| 2” | 1 1/2” | 9” | 8 1/2” |
| 3” | 2” | 9” | 9” |

Notes:					            Notes:

A. Standard fin heights are on;			1.Connection arrangements apply to both encased and non-encased coils.

- 1 1/2" Increments if 5/8" OD tubes		   Coil hand is universal, permitting airflow in either direction.

- 3" Increments if 1" OD tubes			2.If the required arrangement is not seen above, provide sketch showing details.

B. Standard fin spacings 7 - 12 FPI (contact		3.To insure most economical coil, specify connection location dimensions only    	factory on other available spacings).	    if critical to the installation.

After completed:  FAX to (330) 837-0558 or Email to Sales@HydroThrift.com