SPECIFICATION DATA - Water Coils     Date:________ / Page  ____Of____

Name: _____________________________________  Company: ___________________________________________

Address : _______________________________________________________________________________________

City, State, Zip :_________________________________   Tele: ___________________   FAX: ___________________

Job Ref: _________________________________  Coil Model No ____________________________    Qty __________

DIMENSIONAL DATA						PERFORMANCE DATA

Fin Height (“FH”) _________  / Finned Length (“FL”) __________	BTU/Hr. _________ Total / ________ Sensible

Rows Deep _______ / Model Type (see table) ______ 			Airflow  ______________  SCFM or Lbs/ Hr

Fins Per Inch ______ / Number of Circuits1 _________			Face Velocity  _________ FPM

Casing Height (“CH”)______ / Casing Length (“CL”) __________		Entering Air Temp. _____ ºF db / _____ ºF wb

Casing Depth (“CD”) ______ / Overall Coil Length (“OL”)_______	Leaving  Air Temp. _____ ºF db / _____ ºF wb

Casing Flange Width2: F1_____   F2_____   F3 _____   F4 _____	Air Friction Pressure Drop  ______ Inches W.G.

Connection Location3: C1_____  C2 _____   C4 _____  C4 _____	GPM  ____  Fluid (if not water & %) _________

Connection Size: __________  Type:   Sweat   MPT    FPT	Entering Fluid Temperature ______ºF

COIL HAND: (If Horizontal Airflow)       Right       Left		Leaving Fluid Temperature ______ ºF

(If  Vertical Airflow)          Up           Down 		Fluid Pressure Drop __________ Feet of Water

CASING STYLE:  Encased (shown)   Non-encased (ends only)

LEFT HAND COIL SHOWN (RIGHT HAND OPPOSITE)                    Notes:  ___________________________

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

STANDARD DIMENSIONAL SPECIFICATIONS

| MODEL TYPE | TUBE O.D. | TUBE CENTERS FACE X ROW | TUBE PATTERN | STANDARD FIN HEIGHT INCREMENTS | STANDARD FIN SPACING MIN - MAX | STANDARD FLANGE WIDTHS F1, F3, F4, F2 |  | STANDARD L1 (see 2) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 38-1 38-2 38-3 38-4 | 3/8” | 1” x 1” 1” x 1” 1 1/4” x 1” 1” x .866” | Staggered Inline Staggered Staggered | 1” 1” 1 1/4” 1 | 10 - 16 12 only 12 - 16 5 - 18 | 1” 1” 1 1/4” 1” | 1” 1” 1 1/4” 1” | 2 3/8” 2 3/8” 2 7/8” 2 3/8” |
| 12-1 12-2 12-3 12-4 | 1/2” | 1 1/4” x 1” 1 1/2” x 1 1/2” 1 1/2” x 1 1/2” 1 1/2” x 1.299” | Staggered Staggered Inline Staggered | 1 1/4” 1 1/2” 1 1/2” 1 1/2” | 8 - 14 10 - 16 10 only 4 - 15 | 1 1/4” 1 1/2” 1 1/2” 1 1/2” | 1 1/4” 1 1/2” 1 1/2” 1 1/2” | 2 7/8” 3 3/8” 3 3/8” 3 3/8” |
| 58-1 58-2 58-3 58-4 | 5/8” | 1 1/2” x 1 1/2” 1 1/2” x 1 1/2” 1 1/2” x 1.299” 1 3/4” x 1.516” | Staggered Inline Staggered Staggered | 1 1/2” 1 1/2” 1 1/2” 1 3/4” | 7 - 10 8 - 10 4 - 15 4 - 15 | 1 1/2” 1 1/2” 1 1/2” 1 1/2” | 1 1/2” 1 1/2” 1 1/2” 1 1/2” | 3 3/8” 3 3/8” 3 3/8” 3 3/8” |
| 88-1 88-2 | 1” | 3” x 2” 3” x 2.598” | Staggered Staggered | 3” 3” | 4 - 12 4 - 12 | 1 1/2” 1 1/2” | 3” 3” | 6 1/2” 6 1/2” |

NOTES:	1. To insure proper replacement coil operation, specify either number of circuits  or complete performance data.

2. Note standard flange widths in table.  The F2 dimension shown is recommended for tube bend protection on most coils.

3. Indicate direction of inlet and outlet connections if different from above.  If multi-section coil, show circuiting and connection details (use 	   	     separate sheet if necessary).  To insure lowest coil cost, specify connection location dimensions only if critical to the installation.

After completed:  FAX to (330) 837-0558 or Email to Sales@HydroThrift.com